# 0436p METROLL cladding ‑ profiled and seamed sheet metal

Branded worksection

This branded worksection Template has been developed by NATSPEC in conjunction with METROLL (the Product Partner) and may be used whilst the Product Partner is licensed to distribute it. The copyright remains with NATSPEC. As with all NATSPEC worksections, it is the responsibility of the user to make sure it is completed appropriately for the project. The user should also review its applicability for local conditions and regulations. Check www.natspec.com.au for the latest updated version.

Worksection abstract

This branded worksection Template is applicable to lightweight external wall cladding of METROLL profiled and seamed sheet metal products.

Background

The Australian profiled sheet steel industry is organised as follows:

BlueScope manufactures COLORBOND® prepainted steel, ZINCALUME® steel and galvanized steel coils.

METROLL use steel coils and proprietary machinery to shape steel into different profiles and cut sheets to length.

Installers take off material quantities, order and install, often as subcontractors to the contractor.

How to use this worksection

Customise this worksection Template for each project. See A guide to NATSPEC worksections (www.natspec.com.au) for information on Template structure, word styles and completing a worksection.

Related material located elsewhere in NATSPEC

If a listed worksection is not part of your subscription package and you wish to purchase it, contact NATSPEC.

Related material may be found in other worksections, including:

0182 Fire-stopping.

0331 Brick and block construction for brick veneer.

0342 Light steel framing for subframing.

0382 Light timber framing for subframing.

0471 Thermal insulation and pliable membranes for wall insulation, thermal break strips and vapour permeable membranes.

0511 Lining for internal lightweight linings.

0530 Suspended ceilings - combined for suspended soffits.

0671 Painting for in situ paint finishes.

0672 Textured and membrane coatings for in situ application of membrane and surface coatings.

Each of the following worksections contains a single cladding system and may be used if appropriate in addition to this worksection:

0432 Curtain walls.

0433 Stone cladding.

0434 Cladding - flat sheets and panels.

0435 Cladding - planks and weatherboards.

0437 Cladding - insulated panel systems.

Related branded worksections include:

0423p METROLL roofing - profiled sheet metal.

0424p METROLL roofing - seamed sheet metal.

Documenting this and related work

You may document this and related work as follows:

Check if your cladding is required to be non‑combustible, refer to BCA (2025) Section C and ABCB Fire performance of external walls and cladding advisory note (2020). Consider adding a requirement in SUBMISSIONS for evidence of conformance from the contractor. If using a Performance Solution for facade cladding, type testing to AS 5113 (2016) may be used as the verification method for external walls.

Weatherproofing: Conform to BCA (2025) F1D15 for Class 2 to Class 9 buildings or BCA (2025) H2D6 for Class 1 and 10 buildings. Alternatively, document a Performance Solution. Consider adding a requirement for evidence of conformance from the contractor. Refer to NATSPEC TECHnote DES 044 for information on weatherproofing of external walls.

Document the structural support system to your office documentation policy.

Locate the extent of cladding types, accessories and finishes on drawings to your office documentation policy.

Penetrations: Show on the drawings the location and extent of penetrations for services and structural elements including flashing details.

Document the location of openings and penetrations to avoid waste and panel handling times.

For flush jointed fibre cement soffit lining import the relevant material from 0511 Lining.

If required, state the minimum thermal resistance (R‑Value) (m2.K/W). See NATSPEC TECHnote DES 031 for information on specifying R‑Values.

In bushfire‑prone areas, document bushfire protection requirements to AS 3959 (2018) and the NCC. See NATSPEC TECHnote DES 018 for information on bushfire protection.

Check lead time for imported selections and consider adding a requirement, in SUBMISSIONS, for the contractor to confirm availability.

This worksection includes reference to BCA (2025) Section J. NCC (2025) notes that for Class 2 buildings, BCA (2025) Section J is replaced by the equivalent section in NCC (2022). If your project is required to be to another edition of the NCC, review all NCC citations in this worksection and edit accordingly.

The Normal style text of this worksection may refer to items as being documented elsewhere in the contract documentation. Make sure they are documented.

For example:

Location of control joints.

Search acumen.architecture.com.au, the Australian Institute of Architects' practice advisory subscription service, for notes on the following:

Guarantees and warranties.

Site planning and design for bushfire.

Specifying ESD

The following may be specified by using included options:

Metal cladding manufactured from recycled metal and/or is recyclable.

The following may be specified by including additional text:

Metal cladding finished with low VOC or non‑VOC finish.

Refer to NATSPEC TECHreport TR 01 on specifying ESD.

## GENERAL

METROLL are one of Australia's largest manufacturers and suppliers of quality steel building products across residential, commercial and industrial markets. The product range includes roofing, walling, rainwater goods, structural and fencing products.

METROLL combine the benefits of being part of a large national organisation with emphasis on local service. METROLL has 29 manufacturing sites across the country which operate as small local businesses which means we truly understand the markets we operate in.

### RESPONSIBILITIES

#### General

Requirement: Provide METROLL external wall cladding and associated work, as documented.

Documented is defined in 0171 General requirements as meaning contained in the contract documents.

#### Corrosion resistance

Material: To the manufacturer's recommendations for distance from marine influence.

Distance from marine influence:

The distance from marine influence can be used as a guide to determine the finish and grade of steel required, however other factors may also need consideration. For information on determining corrosivity categories in relation to environmental influences, see AS 2312.1 (2014) Table 2.1, AS 4312 (2019) Table 2.1 and Table 4.1. Refer to CORROSION RESISTANCE, Atmospheric corrosivity category in 0171 General requirements, for the project corrosivity categories to AS 4312 (2019). Refer also to BlueScope Technical bulletins BlueScope TB‑01A (2023) and BlueScope TB‑01B (2022), which discuss the selection of steel roofing and walling products, and the correlation of distance to marine influence to the corrosion categories defined in AS 4312 (2019).

### COMPANY CONTACTS

#### METROLL technical contacts

Website: www.metroll.com.au/contact/

### CROSS REFERENCES

#### General

Requirement: Conform to the following:

0171 General requirements.

0171 General requirements contains umbrella requirements for all building and services worksections.

List the worksections cross referenced by this worksection. 0171 General requirements references the 018 Common requirements subgroup of worksections. It is not necessary to repeat them here. However, you may also wish to direct the contractor to other worksections where there may be work that is closely associated with this work.

NATSPEC uses generic worksection titles, whether or not there are branded equivalents. If you use a branded worksection, change the cross reference here.

0185 Timber products, finishes and treatment.

### STANDARDS

#### General

Standard: To AS 1562.1 (2018).

Metal wall cladding conforming to AS 1562.1 (2018) satisfies the weatherproofing requirements for wall cladding in BCA (2025) F1P1 as a NCC Deemed‑to‑Satisfy Solution. If a Performance Solution is proposed, testing to AS/NZS 4284 (2008) is required.

### MANUFACTURER'S DOCUMENTS

Edit the Definitions subclause to suit the project or delete if not required. List alphabetically.

#### Technical manuals

Website: www.metroll.com.au/metroll‑resources‑and‑brochures‑to‑download/

### INTERPRETATION

#### Definitions

General: For the purposes of this worksection, the definitions given in AS 1562.1 (2018) apply.

Edit the Definitions subclause to suit the project or delete if not required. List alphabetically.

### TOLERANCES

#### Permitted deviations

Supporting members for profiled and seamed metal sheet cladding: To AS 1562.1 (2018) clause 4.2.3.

Structural steelwork for wall cladding: ±5 mm between bearing planes of adjacent supports.

### SUBMISSIONS

#### Operation and maintenance manuals

Requirement: Submit manual to COMPLETION, Operation and maintenance manuals.

#### Products and materials

Type tests: Submit test results for the following:

Facade: To PRODUCTS, GENERAL, Tests.

Type tests are carried out off site. However, submission of evidence of a successful type test may be called up here for requirements specified in PRODUCTS.

Evidence of delivery: Submit delivery docket as evidence of delivery of the following:

If evidence of delivery to site is required for particular products, consider including this Optional style text by changing to Normal style.

Recycled material content: Submit documentation from BlueScope showing the following:

Post‑consumer recycled content: 17.4%.

Pre‑consumer recycled content: 6.8%.

BlueScope, on average, produces steel that contains 25% scrap material. Of this, the post‑consumer recycled content is 17.4% and the pre‑consumer recycled content is 6.8%.

If a certain percentage of recycled material content is required, consider including this Optional style text by changing to Normal style text.

Environmental Product Declaration (EPD): Submit an EPD to ISO 14025 (2006) with a Product Category Rule (PCR), used to calculate environmental impact indicators, to EN 15804 (2012) or ISO 21930 (2017).

METROLL have not currently produced their own EPDs but have participated in the development of BlueScope's EPD statements. METROLL supplies products made exclusively from BlueScope steel.

Nominate which products are required to have an EPD either here or in PRODUCTS.

An EPD is an independently verified and registered document that quantifies environmental information on the life cycle of a product to enable comparisons between products fulfilling the same function. EPDs can support carbon emission reduction by allowing a fair and equitable comparison of the impacts of different materials and products within specific product categories.

Prototypes

Requirement: Submit prototypes to EXECUTION, GENERAL, Prototypes.

Include this Optional style subclause by changing to Normal style text if the Optional EXECUTION, GENERAL, Prototypes subclause is included.

#### Samples

Requirement: Submit samples to PRODUCTS, GENERAL, Samples.

#### Substrate acceptance

Requirement: Submit evidence of installer's acceptance of the substrate or framing before starting installation.

#### Shop drawings

Shop drawings are necessary if some or all of the system is to be designed by the contractor or a specialist subcontractor to meet the performance criteria specified. If this is not the case, delete Shop drawings.

General: Submit shop drawings to a scale that best describes the detail, showing the following:

e.g. Methods of fixing, required end and side laps, acoustic insulation, suppression of impact noise, provisions for thermal movement, flashing, thermal insulation, vapour barrier, control joint treatment, isolation of incompatible metals.

#### Warranties

Requirement: Submit warranties to COMPLETION, Warranties.

### INSPECTION

#### Notice

Inspection: Give notice so that inspection may be made of the following:

Framing, pliable membranes and insulation before covering up or concealing.

Edit to suit the project, adding critical stage inspections required.

Hold points, if required, should be inserted here.

## PRODUCTS

### GENERAL

#### Product substitution

Other products: Conform to SUBSTITUTIONS in 0171 General requirements.

SUBSTITUTIONS in 0171 General requirements sets out the submissions required if the contractor proposes alternative products. Refer also to NATSPEC TECHnote GEN 006 for more information on proprietary specification.

#### Product identification

General: Marked to show the following:

Manufacturer's identification.

Product brand name.

Product type.

Quantity.

Product reference code and batch number.

Date of manufacture.

Edit the list to suit the project or delete if not required.

#### Samples

Approved samples that define the acceptable limits of colour and texture variations are retained on site. If particular or additional samples are required, list them here.

Requirement: Provide samples of the following, showing the range of variation available:

Cladding material.

Trim and accessories with a colour finish.

Custom profiled flashings and cappings.

Profiled sheet metal cladding:

Finishes.

Sealants.

Seamed sheet metal cladding:

Finishes.

Sealants.

Pre‑weathered finish to seamed sheet metal cladding.

Delete if not pre‑weathered.

Sample size:

Sample sizes are generally 300 x 300 mm or 600 x 600 mm.

#### Storage and handling

Requirement: Store and handle materials to the manufacturer's recommendations and the following:

Protect materials including edges and surfaces from damage.

Keep clean, dry and unexposed to weather.

Do not drag sheets or panels across each other or over other materials.

Sheeting: Stack flat and off the ground on at least 3 evenly placed bearers.

Store metal materials away from uncured concrete and masonry on a level base.

Do not store metal materials in contact with other materials that may cause staining, denting or other surface damage.

Use gloves when handling metal cladding material.

#### Tests

0171 General requirements defines different tests in INTERPRETATION, Definitions.

Resistance to wind pressures:

Non‑cyclonic wind regions: To AS 1562.1 (2018) clause 5.5.

Cyclonic wind regions: To AS 1562.1 (2018) clause 5.6.

Check if your cladding is required to be non‑combustible, refer to BCA (2025) Section C and ABCB Fire performance of external walls and cladding advisory note (2020).

### PROFILED SHEET METAL

#### Standards

Design and materials: To AS 1562.1 (2018).

#### METROLL profiled sheet cladding

Requirement: METROLL profiled steel sheet cladding, as documented.

Selection: To the METROLL profiled sheet metal cladding schedule.

### SEAMED SHEET METAL

#### Standards

Design and materials: To AS 1562.1 (2018).

#### METROLL seamed sheet cladding

Requirement: METROLL seamed steel sheet cladding, as documented.

Selection: To the METROLL seamed sheet metal cladding schedule.

### INTERLOCKING SHEET METAL PANELS

#### Standards

Design and materials: To AS 1562.1 (2018).

#### METROLL interlocking panel cladding

Requirement: METROLL interlocking steel panel cladding, as documented.

Selection: To the METROLL interlocking sheet metal panel cladding schedule.

### SUBSTRATES

#### Plywood sheeting

A plywood sheeting substrate is an alternative to steel battens. Delete if steel battens are used or cladding is fixed direct to purlins or timber support.

Consider requirement for a fire resisting separation layer if a plywood sheeting substrate is being used and document requirements here.

Substrate: Flush finished continuous plywood sheeting, as documented.

Standard: To AS/NZS 2269.0 (2012).

Surface grade: DD.

AS/NZS 2269.0 (2012) defines five veneer qualities A, S, B, C and D, the lowest grade.

Bond: Type A.

Formaldehyde emission class: E1.

Super E0 and E0 class may be available at additional cost and lead time. A formaldehyde emission class E1 or less can improve indoor air quality.

Compliance with this subclause targets the Engineered Wood Products requirement for structural plywood within the Minimum Expectation level of the Exposure to Toxins credit in Green Star Buildings (2025):

Structural plywood: 1.0 mg/L (E1).

Thickness: 19 mm.

Identification: Sheets labelled under the authority of a recognised certification scheme to 0185 Timber products, finishes and treatment.

Nominate the relevant certification schemes in 0185 Timber products, finishes and treatment.

#### Steel battens

Standard: To AS/NZS 4600 (2018).

Requirement: To suit documented span, spacing and roofing material.

Steel battens are an alternative substrate to plywood sheeting. Delete if plywood sheeting is used or cladding is fixed direct to purlins or timber support.

#### Underlayer

Requirement: Sarking, as documented.

Document requirements for sarking, pliable membranes and insulation in 0471 Thermal insulation and pliable membranes.

### COMPONENTS

#### Fastenings

General: Type, size, corrosion resistance class and spacing to METROLL'S recommendations.

Profiled sheet metal:

Finish for exposed fasteners on coloured cladding: Prefinish exposed fasteners with an oven baked polymer coating to match the cladding material.

Fastenings to timber battens: Provide fasteners long enough to penetrate the thickness of the batten without piercing the underside.

Seamed sheet metal: Starter clips, fixing clips and fasteners to METROLL'S recommendations.

Refer to BlueScope TB‑16 (2023) guide on selecting fasteners for roofing and walling.

#### Flashings

Requirement: To AS/NZS 2904 (1995).

Coordinate with 042 Roofing worksections.

#### Sealant

Requirement: 100% neutral cure non‑acid based silicone rubber to match cladding.

#### Accessories

Requirement: Provide accessories with the same finish as cladding sheets.

Coordinate with 0423p METROLL roofing - profiled sheet metal and/or 0424p METROLL roofing - seamed sheet metal.

## EXECUTION

### GENERAL

#### Plywood sheeting substrate installation

Delete if plywood sheeting substrate is not required.

Installation: Lay the length of the sheets at right angles to the supports.

End joints: Stagger the end joints and locate centrally over framing members.

Edge support: If panels are not tongue and grooved, provide noggings or trimmers to support the edges.

Support spacing: Maximum 300 mm centres.

Fixing method:

To timber support: Screw, or adhesive and nail.

To steel support: Metallic‑coated, self‑drilling/tapping screws with the heads finishing below the surface.

Control joints: 12 mm gap at abutting building elements.

Detail the assembly to provide a 25 mm air gap between the plywood and insulation.

#### Steel batten installation

Delete if steel battens not required.

Requirement: Install battens to the manufacturer's recommendations.

#### Preparation

Substrates or framing: Before fixing cladding, check the alignment of substrates or framing and adjust if required.

Flexible underlay: Check that the underlay or insulation is restrained.

Cladding: Make sure the cladding is clean and free of dust and loose particles.

#### Installation

Standard: To AS 1562.1 (2018).

Requirement: Install cladding as follows:

Fix sheeting firmly against framing to the manufacturer's recommendations.

Plumb, level, straight and to documented tolerances.

Fixed or anchored to the building structure in conformance with the wind action loading recommendations.

Isolated from any building loads, including loads caused by structural deflection or shortening.

Allow for thermal movement.

Provide for expansion and contraction of components. Temperature change due to climatic conditions must not cause harmful buckling, opening of joints, undue stress on fastening and anchors, noise or other defects.

Maximum expansion joint spacing (m):

METROLL recommend the following maximum joint spacing:

Dark coloured cladding: 17 m.

Light coloured cladding: 24 m.

Cladding layout: Cut/fabricate and install cladding to suit the layout as documented.

Document the location of openings and penetrations to avoid waste and minimise panel handling times.

Protection: Protect surfaces and finishes, and retain protective film during installation.

Compatible components: Use sheets, panels and components from a single proprietary system and install to METROLL's recommendations.

Document control joints and flashings at windows, abutments and penetrations to METROLL's recommendations.

Fastener type, size, corrosion resistance class, and spacing: To METROLL's recommendations.

Ground clearance: Maintain documented clearance.

Cutting sheets: Wherever possible, factory cut to length. Do not use an abrasion disc.

Accessories: Provide material with the same finish as cladding sheets.

Swarf: Remove swarf and other debris as soon as it is deposited.

Prototypes

Requirement: Provide a prototype of each panel type, including at least one example of each component in the system to verify selections submitted as samples, to demonstrate aesthetic effects, to set quality standards for materials and execution, and to verify performance, including wind loading.

Inclusions:

Typical components, attachments to building structure and methods of installation.

Window opening with cladding panel, trim and returns.

Sealant filled joint.

Type:

Extent:

e.g. Not less than 1800 mm long x 1200 mm high, not less than 4500 mm long x 3000 mm high.

Location:

Preferably show on the drawings the location and extent of the prototype and the number and type of components to be included. Delete if the size of the project does not justify a prototype.

Incorporation: Subject to approval, incorporate the prototype in the completed works.

If a prototype is a project requirement, consider including this Optional style text by changing to Normal style text and completing the prompts.

#### Accessories and trim

Requirement: Provide accessories, flashings and trim required to complete the installation.

#### Metal separation

Make sure of compatibility or detail separation.

See AS 1562.1 (2018) Table C3 for guidance on the compatibility of metals. See also SA HB 39 (2015) Section 2 on material selection. It is primarily a design responsibility that incompatible metals are not documented or shown to be in contact. Preferably show the separation method on the drawings.

Corrosion can result from water run‑off between incompatible surfaces. See AS 1562.1 (2018) clause 3.4.3 and AS 1562.1 (2018) Table C4. There are four conditions to be avoided:

Run‑off from copper and copper alloys onto aluminium, zinc, galvanized, or aluminium/zinc‑coated surfaces.

Run‑off from glass onto stainless steel, zinc or galvanized surfaces.

Run‑off from plastic onto zinc or galvanized surfaces.

Run‑off from inert catchment surfaces such as glazed terracotta, prepainted steel, aluminium and aluminium/zinc onto zinc or galvanized surfaces.

In marine or high humidity environments, separate green hardwood from aluminium and coated steel.

Typical methods for metal separation include:

Applying an anti‑corrosion, low moisture transmission coating such as zinc or barium chromate primer or aluminium pigmented bituminous paint to contact surfaces.

Inserting a separation layer such as polyethylene film, adhesive tape or bituminous felt.

Requirement: Prevent direct contact between incompatible metals, and between green hardwood or chemically treated timber and aluminium or coated steel, by either of the following methods:

Apply an anti‑corrosion, low moisture transmission coating to contact surfaces.

Insert a separation layer.

Incompatible metal fastenings: Do not use.

#### Defective and damaged parts

Defective components: Do not install component parts that are defective, including warped, bowed, dented, chipped, scratched, abraded or broken members.

### PROFILED SHEET METAL

#### Cladding profiled sheet installation

METROLL profiled sheet steel cladding: To the manufacturer's recommendations.

#### Fixing

Fixing start location:

Note the elevation that will allow fixing to proceed from leeward to the windward of prevailing wind.

### SEAMED SHEET METAL

#### Cladding seamed sheet installation

METROLL seamed sheet steel cladding: To the manufacturer's recommendations.

### INTERLOCKING SHEET METAL PANELS

#### Cladding interlocking panel installation

METROLL interlocking panel steel cladding: To the manufacturer's recommendations.

### COMPLETION

#### Fasteners

Requirement: Adjust for weathertightness without distortion of external panel face.

#### Reinstatement

Requirement: Replace damaged cladding, including cladding with scratches in the prepainted finish.

BlueScope does not recommend the use of touch‑up paint to repair damage or scratches to the painted surface of COLORBOND® or ZINCALUME® steel. See BlueScope TB‑02 (2022).

#### Cleaning

Requirement: Remove debris, metal swarf, solder, sealants and unused materials.

Exposed metal surfaces: Remove substances that interfere with uniform weathering or oxidisation.

Protection: Remove protective film using methods required by the manufacturer after completion.

Protective film will withstand exposure to weather for a limited period of time before losing its peel‑off characteristics and causing staining. The gloss coating changes when exposed to plasticisers.

Panels: Clean surfaces with soft, clean cloths and clean water to the manufacturer's recommendations.

#### Operation and maintenance manuals

Requirement: Prepare a manual that includes the manufacturer's published use, care and maintenance requirements.

Compliance with this subclause targets the Building Information requirement within the Minimum Expectation level of the Verification and Handover credit in Green Star Buildings (2025).

#### Warranties

Refer to 0171 General requirements for appropriate warranty type and the terms covered in the warranty.

Selection of warranty type: Check warranty type is suitable for intended purpose for selected product or material.

Type: Manufacturer and installer interlocking warranty.

Refer to Warranty types in 0171 General requirements.

Period: As offered by the manufacturer and installer.

BlueScope has an internet based Warranty Estimator and Management System that allows access to warranty advice for BlueScope building products and sample warranties at www.warranties.bluescopesteel.com.au/site/.

## SELECTIONS

Schedules are a tool to specify properties required for products or systems. If the principal permits documentation of the product or system by proprietary name, some of the properties may be unnecessary and can be deleted. Document the product or system's location or application here and/or on the drawings with a matching project code. Refer to NATSPEC TECHnote GEN 024 for guidance on using and editing schedules.

### PERFORMANCE

#### Cladding performance schedule

|  | A | B | C |
| --- | --- | --- | --- |
| Solar absorptance |  |  |  |
| Light Reflectance Value (LRV) |  |  |  |

The codes in the header row of the schedule designate each application or location of the item scheduled. Edit the codes to match those in other contract documents.

Solar absorptance: Select from manufacturer's range. Light (< 0.40), medium (0.40 to 0.60), dark (> 0.60). See BCA (2025) J3D8 for external walls to a Class 4 part of a building.

Light Reflectance Value (LRV): If required, nominate the light reflectance value. Some local authorities limit the light reflectance value for building exteriors. Refer to the relevant local authority for any requirements.

### PRODUCT

#### METROLL profiled sheet metal cladding schedule

|  | A | B | C |
| --- | --- | --- | --- |
| Profile |  |  |  |
| Material |  |  |  |
| Base metal thickness (BMT) (mm) |  |  |  |
| Colour |  |  |  |
| Trim |  |  |  |
| Flashings and cappings |  |  |  |
| Fasteners |  |  |  |

The codes in the header row of the schedule designate each application or location of the item scheduled. Edit the codes to match those in other contract documents.

Profile: Select from the following METROLL cladding profiles:

METROLL Corodek: Available nationwide.

METROLL Metlok 700: Available nationwide (available in NT by request).

METROLL Metrib: Available nationwide.

METROLL Metrospan: Available nationwide.

METROLL Trimclad: Available nationwide.

Material: Select from the following with reference to the location exposure severity category:

METROLL Corodek: COLORBOND® steel, COLORBOND® steel Metallic, COLORBOND® Ultra steel, ZINCALUME® steel G550, ZINCALUME® steel G300 or galvanized steel.

METROLL Metlok 700: COLORBOND® steel, COLORBOND® steel Metallic, COLORBOND® Ultra steel, ZINCALUME® steel G550 or ZINCALUME® steel G300.

METROLL Metrib: COLORBOND® steel, COLORBOND® steel Metallic, COLORBOND® Ultra steel, ZINCALUME® steel G550 or ZINCALUME® steel G300.

METROLL Metrospan: COLORBOND® steel, COLORBOND® steel Metallic, COLORBOND® Ultra steel, ZINCALUME® steel G550, ZINCALUME® steel G300 or galvanized steel.

METROLL Trimclad: COLORBOND® steel, COLORBOND® steel Metallic, COLORBOND® Ultra steel, ZINCALUME® steel G550, ZINCALUME® steel G300 or galvanized steel.

Base metal thickness (BMT) (mm): Select from the following:

METROLL Corodek: 0.42 or 0.48.

METROLL Metlok 700: 0.42 or 0.48.

METROLL Metrib: 0.42 or 0.48.

METROLL Metrospan: 0.42 or 0.48.

METROLL Trimclad: 0.42 or 0.48.

Colour: Consult the BlueScope COLORBOND® Colour Chart or nominate galvanized finish if available.

Trim: e.g. Custom flashings.

Flashings and cappings: e.g. Prefinished steel to match cladding colour. Coordinate with 0423p METROLL roofing - profiled sheet metal and/or 0424p METROLL roofing - seamed sheet metal. For custom profiles refer to your METROLL branch.

Fasteners: e.g. Concealed, pierced (crest or valley).

#### METROLL seamed sheet metal cladding schedule

|  | A | B | C |
| --- | --- | --- | --- |
| Product |  |  |  |
| Material |  |  |  |
| Base metal thickness (BMT) (mm) | 0.55 | 0.55 | 0.55 |
| Rib height (mm) |  |  |  |
| Cover width (mm) |  |  |  |
| Colour |  |  |  |
| Trim |  |  |  |
| Flashings and cappings |  |  |  |

The codes in the header row of the schedule designate each application or location of the item scheduled. Edit the codes to match those in other contract documents.

Product: Select from the following METROLL cladding products:

METROLL MAC Nail Strip: Available in WA, SA, QLD and NSW.

METROLL MAC Snap Lock: Available in WA, SA, QLD and NSW.

Material: Select from the following with reference to the location exposure severity category:

METROLL MAC Nail Strip: COLORBOND® steel, COLORBOND® steel Metallic, COLORBOND® Ultra steel or ZINCALUME® steel G300. Copper, Aluminium and other materials may be available, check with your METROLL branch.

METROLL MAC Snap Lock: COLORBOND® steel, COLORBOND® steel Metallic, COLORBOND® Ultra steel or ZINCALUME® steel G300. Copper, SUPERDURA Stainless Steel and other materials may be available, check with your METROLL branch.

Base metal thickness (BMT) (mm): Available in BMT of 0.55 only.

Rib height (mm): Select from the following:

METROLL MAC Nail Strip: 25 or 38.

METROLL MAC Snap Lock: 25 or 38.

Cover width (mm): Select from the following:

METROLL MAC Nail Strip: Range of standard widths available from 190 to 465, with other cover width available on request. Consult METROLL for widths available from your branch.

METROLL MAC Snap Lock: Range of standard widths available from 187 to 328, with other cover width available on request. Consult METROLL for widths available from your branch.

Colour: Consult the BlueScope COLORBOND® Colour Chart.

Trim: e.g. Custom flashings.

Flashings and cappings: e.g. Prefinished steel to match cladding colour. Coordinate with 0423p METROLL roofing - profiled sheet metal and/or 0424p METROLL roofing - seamed sheet metal. For custom profiles refer to your METROLL branch.

#### METROLL interlocking sheet metal panel cladding schedule

|  | A | B | C |
| --- | --- | --- | --- |
| Product | MAC Interlocking Panel | MAC Interlocking Panel | MAC Interlocking Panel |
| Material |  |  |  |
| Base metal thickness (BMT) (mm) | 0.55 | 0.55 | 0.55 |
| Cover width (mm) |  |  |  |
| Expressed joint width (mm) |  |  |  |
| Colour |  |  |  |
| Trim |  |  |  |
| Flashings and cappings |  |  |  |
| Fasteners |  |  |  |

The codes in the header row of the schedule designate each application or location of the item scheduled. Edit the codes to match those in other contract documents.

Product: METROLL MAC Interlocking Panel: Available in WA, SA, QLD and NSW.

Material: Select from the following with reference to the location exposure severity category:

METROLL MAC Interlocking Panel: COLORBOND® steel, COLORBOND® steel Metallic, COLORBOND® Ultra steel or ZINCALUME® steel G300. Copper, Aluminium and other materials may be available, check with your METROLL branch.

Base metal thickness (BMT) (mm): Available in BMT of 0.55 only.

Cover width (mm): Select from the following:

METROLL MAC Interlocking Panel: Range of standard widths available from 200 to 300, with other cover widths up to 500 mm available on request. Consult METROLL for widths available from your branch.

Expressed joint width (mm): Custom joint widths available. Consult METROLL for widths available from your branch.

Colour: Consult the BlueScope COLORBOND® Colour Chart.

Trim: e.g. Custom flashings.

Flashings and cappings: e.g. Prefinished steel to match cladding colour. Coordinate with 0423p METROLL roofing - profiled sheet metal and 0424p METROLL roofing - seamed sheet metal. For custom profiles refer to your METROLL branch.

Fasteners: Nominate fasteners required, such as designer head screws.

REFERENCED DOCUMENTS

The following documents are incorporated into this worksection by reference:

AS 1562		Design and installation of sheet roof and wall cladding

AS 1562.1	2018	Metal

AS/NZS 2269		Plywood - Structural

AS/NZS 2269.0	2012	Specifications

AS/NZS 2904	1995	Damp-proof courses and flashings

AS/NZS 4600	2018	Cold-formed steel structures

EN 15804	2012	Sustainability of construction works - Environmental product declarations - Core rules for the product category of construction products

ISO 14025	2006	Environmental labels and declarations - Type III environmental declarations - Principles and procedures

ISO 21930	2017	Sustainability in buildings and civil engineering works - Core rules for environmental product declarations of construction products and services

The following documents are mentioned only in the Guidance text:

AS/NZS 2312		Guide to the protection of structural steel against atmospheric corrosion by the use of protective coatings

AS 2312.1	2014	Paint coatings

AS 3959	2018	Construction of buildings in bushfire-prone areas

AS/NZS 4284	2008	Testing of building facades

AS 4312	2019	Atmospheric corrosivity zones in Australia

AS 5113	2016	Classification of external walls of buildings based on reaction-to-fire performance

SA HB 39	2015	Installation code for metal roof and wall cladding

BCA F1D15	2025	Health and amenity - Water management - Wall cladding

BCA F1P1	2025	Health and amenity - Water management - Managing rainwater impact on the building and adjoining properties

BCA H2D6	2025	Class 1 and 10 buildings - Damp and weatherproofing - Roof and wall cladding

BCA J3D8	2025	Energy efficiency - Elemental provisions for a Class 4 part of a building - External walls of a Class 4 part of a building

BCA Section C	2025	Fire resistance

BCA Section J	2025	Energy efficiency

NCC	2022	National Construction Code

NCC	2025	National Construction Code

ABCB Fire performance	2020	Fire performance of external walls and cladding advisory note

BlueScope TB‑01A	2023	Steel roofing products - Selection guide

BlueScope TB‑01B	2022	Steel walling products - Selection guide

BlueScope TB‑02	2022	Overpainting and restoration of exterior BlueScope coated steel products

BlueScope TB‑16	2023	Fasteners for roofing, walling and accessory product - Selection guide

GBCA Buildings	2025	Green Star Buildings

NATSPEC DES 018		Bushfire protection

NATSPEC DES 031		Specifying R-Values

NATSPEC DES 044		Weatherproofing of external walls

NATSPEC GEN 006		Product specifying and substitution

NATSPEC GEN 024		Using NATSPEC selections schedules

NATSPEC TR 01		Specifying ESD